## Slide 1: Experimental considerations in searches for new physics with cold atoms
Matthew Jones
Durham University

## Slide 2: Acknowledgements
David Carty
Joseph Scott
Dr. Joseph Scott
Matt Jones
Funding: Frances and Rodney Stubbs
JS thesis https://etheses.durham.ac.uk/id/eprint/15616/?template=default

## Slide 3: Motivation: testing the Standard Model
Theory: Robert Potvliege’s talk

## Slide 4: Hydrogen energy levels (1)
Phys. Rev. A 108, 032825 (2023), also Delaunay et al (2017)
Bounds based on the isotope shifts of two different transitions (gn = gp)
From Robert’s talk

## Slide 5: The state-of-the-art
Currently at 10 kHz

## Slide 6: Systematics
Rydberg constant
Proton radius
NB all of these values rely on H 1S-2S measurement
From Bullis et al., PRL 136, 123001 (2006)
Parthey et al., Phys. Rev. lett. 107 203001 (2011)

## Slide 7: Outline
How can we gain three orders of magnitude in precision measurements of H and D atoms?
Current measurements
Spectroscopy with trapped atoms
Spectroscopy with trapped H/D atoms
Towards trapped hydrogen measurements

## Slide 8
Current measurements

## Slide 9: Energy levels and transitions
S
P
D
1
0 eV
2
3
20
-13.6 eV

## Slide 10: Energy levels and transitions
S
P
D
1
0 eV
2
3
20
Lyman-α
121.567 nm
-13.6 eV
2P: τ≈1.6 ns

## Slide 11: Energy levels and transitions
S
P
D
1
0 eV
2
3
20
-13.6 eV
2P: τ≈1.6 ns
2S: τ≈0.12 s
metastable

## Slide 12: Energy levels and transitions
S
P
D
1
0 eV
2
3
20
-13.6 eV
2P: τ≈1.6 ns
243 nm
243 nm
Line split by a factor of ~100
2S: τ≈0.12 s
metastable
Parthey et al., Phys. Rev. lett. 107 203001 (2011)

## Slide 13: Energy levels and transitions
S
P
D
1
0 eV
2
3
20
2S: τ≈0.12 s
metastable
759 nm
759 nm
Bullis et al., Phys. Rev. Lett. 136 123001 (2026)

## Slide 14: The current generation of experiments
Maisenbacher et al., Nature 650 845 (2026)

## Slide 15: The current generation of experiments
Maisenbacher et al., Nature 650 845 (2026)

## Slide 16: Velocity-dependent systematics
Complex velocity-dependent lineshape models are required
[systematic] shifts are also nonlinear due to the Gaussian beam intensity profile and the presence of many atomic trajectories, all of which sample slightly different ac Stark shifts
From Bullis et al., PRL 136, 123001 (2006)

## Slide 17
Spectroscopy with cold trapped atoms

## Slide 18: Lattice clocks – trapped atoms
H. Katori, Nat. Photonics 5, 203 (2011)

## Slide 19: Lattice clocks – trapped atoms
H. Katori, Nat. Photonics 5, 203 (2011)

## Slide 20: Lattice clocks – trapped atoms
H. Katori, Nat. Photonics 5, 203 (2011)
Carrier lineshape is independent* of velocity!
Xiao-Tong Lu et al., Metrologica 62, 035007 (2025)
Lamb-Dicke parameter

## Slide 21: State-of-the-art
Accuracy and instability at 2 10^-18 level (0.001 Hz)
[Better than the SI second] 10^-16 level
2 kHz
Nicholson et al., Nat. Commun. 6, 6896 (2015)

## Slide 22
Towards a H 1S-2S lattice clock
J. P. Scott et al., Metrologica 61, 025001 (2024)
J. P. Scott et al., J. Open Res. Softw. 14, 16 (2026)
See also
Amit et al., J. Phys. Conf. Series 2889,012027 (2024)
Amit et al., Phys. Rev. A 112 033101 (2025)

## Slide 23: Magic wavelength
Calculated polarisabilities of 1S and 2S states using implicit summation method that included continuum (ca. 10%) [4]. Magic wavelengths for 1S – 2S transition where curves cross.
Low 1S polarizability means high lattice laser power is required.
2S – 3P
2S – 4P
2S – 5P etc.
1S – 2P etc.

## Slide 24: Loss channels
S
P
D
1
0 eV
2
3
20
2S: τ≈0.12 s
metastable
Inelastic scattering

## Slide 25: Loss channels
S
P
D
1
0 eV
2
3
20
2S: τ≈0.12 s
metastable
Inelastic scattering
2. Two-photon ionization

## Slide 26: Loss channels
S
P
D
1
0 eV
2
3
20
2S: τ≈0.12 s
metastable
Inelastic scattering
2. Two-photon ionization

## Slide 27: Broadening and loss
Elastic
Inelastic
2ph ion.
3ph ion.
Elastic and inelastic scattering rates, and two- and three-photon ionization rates versus wavelength for 2S atoms in a lattice with a depth of 100 times the recoil energy. Red vertical lines indicate the magic wavelengths. Reproduced from [C].
Much higher than radiative decay (lifetime) of 2S state => transition is strongly broadened

## Slide 28: How bad is it (its bad)
Minimum achievable linewidth versus Lamb-Dicke parameter (bottom) and motional carrier strength (top) at the four different magic wavelengths. Dashed line indicates the state-of-the-art for beam measurements [6]. Reproduced from [7].

## Slide 29: How bad is it (maybe not that bad)

## Slide 30: Other transitions

## Slide 31
A route to trapped hydrogen

## Slide 32: Hydrogen BEC revisted
Fried at al., Phys. Rev. Lett. 81, 3811 (1998)

## Slide 33: Hydrogen BEC re-visted
Figures: T C Killian PhD thesis (MIT, 1999)
1S-2S spectroscopy of trapped hydrogen : the cold collision frequency shift and studies of BEC

## Slide 34: Hydrogen BEC re-visted
Wikiwand
Wikipedia
Bluefors
[1811.09874] Frequency-Stabilized Deep-UV Laser at 243.1 nm with 1.4 W output power

## Slide 35: A possible experiment
For more details on Hydrogen Mott insulator see J. P. Scott PhD thesis
For experimental progress see Grasian collaboration Semakin et al., Eur. Phys J D 79 23 (2025)

## Slide 36: Summary
A dramatic improvement in hydrogen spectroscopy is required
Cold trapped atoms are the way forward
BUT The level structure of hydrogen makes these experiments very challenging.
HOWEVER an experimentally proven route exists….
Next steps:
Investigate deuterium, evaluate possible systematic uncertainties
Get funding??

## Slide 37: Second-order Doppler shift
Relativistic effect, equivalent to time dilation for moving atom
(δν0 ≈ O(10)mHz

## Slide 38: Power requirements
1 Watt available at 399.5
Assume 100 um lattice waist (1D)
Build-up cavity (5000) required….

## Slide 39: Other approaches
Grasian collaboration