## Slide 1: Dark Matter Effective Field Theory Scattering analysis in the XENON100 detector
Ran Itay, Weizmann Institute of Science
on behalf of the XENON Collaboration.
Benjamin Farmer, Stockholm University
Dark Matter Interpretations for Direct Detection, August 2016

## Slide 2
21 Institutes from 10 countries.
The XENON Collaboration
10 countries
21 Institutes
130 Scientists

## Slide 3
Detection Principle
Anode
Cathode
Top PMT array
Bottom PMT array
-16 kV
4.4 kV
LXe
gXe
E drift
E extraction

## Slide 4
Anode
Cathode
Top PMT array
Bottom PMT array
-16 kV
4.4 kV
LXe
e-
e-
e-
E drift
E extraction
Detection Principle

## Slide 5
Anode
Cathode
Top PMT array
Bottom PMT array
-16 kV
4.4 kV
LXe
g
e-
e-
e-
g
g
g
g
E drift
E extraction
Detection Principle

## Slide 6
Anode
Cathode
Top PMT array
Bottom PMT array
-16 kV
4.4 kV
LXe
e-
e-
e-
g
g
g
g
g
g
E drift
E extraction
Detection Principle
e , γ – background
WIMP, N – signal

## Slide 7
Standard Interactions
Spin Independent
Spin Dependent
arXiv: 1301.6620
Preliminary

## Slide 8
EFT Interactions
Cannot be obtained at leading order
SI
SD
Fitzpatrick et al. arXiv:1203.3542
Anand et al. arXiv: 1308.6288

## Slide 9
SI
SD

## Slide 10
Strategy
Low Energy (3-30PE),
“standard” analysis.
Signal Model – MC based
Detector acceptance
Background Model(fit)
Profile Likelihood(pdf in S1)
Blind analysis, data of Run 2, 28.2.11 – 31.3.12 (34*225.6 kg*day)
Treat each operator separately
Signal region divided into 2 energy regimes.
Likelihood combination
High Energy (30-180PE),
This work.
Signal Model – calibration based
Detector acceptance
Background Model
(calibration data)
Profile Likelihood (binned S1)
Blind
40 keV line

## Slide 11
High Energy (30-180 PE)
Signal Model
Spin-orbit.

## Slide 12
High Energy (30-180 PE)
Signal Model
SD( longitudinal only ).

## Slide 13
High Energy (30-180 PE)
Background Model
Control region
NR acceptance quantiles
Data Driven Method
Use ER calibration runs (Co + Th) to estimate background
Define signal-free control region
Estimate scaling factor using control region
Scale ER calibration in signal region
Signal region
e , γ – background
WIMP, N – signal

## Slide 14
Control region
High Energy (30-180 PE)
Background Model
Total number of events in calibration Sample – 49468
Total number of events in DM Sample – 1163
τ = (2.35 ± 0.07)
systematic uncertainty to be evaluated
Blind
Preliminary

## Slide 15
High Energy (30-180 PE)
95% NR acc & 99.9% ER rej
Expected background: 1.4
Total signal acc ~60%
Signal region
Likelihood analysis will include “full” region.
Benchmark area, shown here for preliminary sensitivity
e , γ – background
WIMP, N – signal
Notes: 9.6 bck 95% – 5.7 limit
1.4 bck 60% – 5.2 limit
2.35 bck 50% sig– 7.1 lim

## Slide 16
Low Energy (3 - 30 PE)
Similar and improved to arXiv: 1207.5988
Signal model
Background model
Expected background: 1.7
Preliminary
Preliminary

## Slide 17
Sensitivity
Very preliminary.
Currently based on Feldman-Cousins counting approach
All CDMS results taken from K. Schneck et al. PRD 91, 092004 (2015) .

## Slide 18
Estimated Sensitivity
Preliminary
Notes: M_weak = 246.2 GeV

## Slide 19
Estimated Sensitivity
Preliminary

## Slide 20
Estimated Sensitivity
Preliminary

## Slide 21
Estimated Sensitivity
Preliminary

## Slide 22
Goldman et al. arXiv:1005.1286
Panci et al. arXiv:1307.5955
Estimated Sensitivity
Reduction from Relativistic operators
Limits on majorana fermions
Preliminary

## Slide 23
Summary
Ongoing analysis on EFT operators in XENON100.
Energy range extended to 180PE (240 keVnr), previously up to 30PE (43 keVnr)
Estimated sensitivity promising.
Comparison to Relativistic operators in Tevatron presented.
Future - XENON1T, stay tuned!

## Slide 24
Questions

## Slide 25
Backup Slides

## Slide 26
High Energy (30-180 PE)
Statistical Inference
Log Likelihood ratio.

## Slide 27
Log Likelihood ratio.
Low Energy (3-30 PE)
Statistical Inference

## Slide 30
95% NR acc
Expected background: 9.6
e , γ – background
WIMP, N – signal